## Slide 1
OF EXPERIMENTAL STATION
HEFEILIGHT SOURCE INTRODUCTION
合
肥
光
源
HEFEI
LIGHT SOURCE
原子与分子物理线站

## Slide 2
01
02
03
04
Beamline
Examples
Methods
Beamtime
目录
CATALOG

## Slide 3
Beamline configuration
800 MeV
400 mA
Undulator
370/740/1250 l/m
65x55 mrad2
6-124 eV
3000@15 eV
1 x 1013 phs/s
0.5 x 0.8 mm2
5000@m/z=100
Entrance 1
Energy
Beam
current
Source
Grating
Acceptance
angle
Photon
Energy
Resolution
Photon
Flux
Beam
size
Mass Spectral
Resolution

## Slide 4
实验站布局图
SVUV-PIMS
PEPICO
SVUV-AMS
Chemical reactors

## Slide 5
01
02
03
04
Beamline
Examples
Methods
Beamtime
目录
CATALOG

## Slide 6
Method 1：Synchrotron VUV photoionization mass spectrometry
Photoionization
Energy range covers all organic ionization energies
“Soft” ionization
Universal detection method
Ability to resolve isomers
Sample
Molecular beam
Repulsive
plate
extractor
Time of flight mass spectrometer
Ionization zone

## Slide 7
Method 2：Photoelectron-photoion coincidence (PEPICO)
Simultaneous monitoring of ions and electrons in the same ionization event
Better isomer discrimination capability
A powerful tool for studying the extreme ultraviolet photoionization dynamics of photoresists

## Slide 8
Method 3：Synchrotron Radiation Aerosol Mass Spectrometry
Online monitoring and analysis of aerosol chemical composition
High particle penetration
Fast vaporization of aerosol by hot target
“Soft" ionization to reduce fragmentation
aerodynamic lens
Low pressure
High pressure

## Slide 9
01
02
03
04
Beamline
Examples
Methods
Beamtime
目录
CATALOG

## Slide 10
Catalysis and energy conversion
Science, 2024, 383, 94
Xia et al., Angew. Chem. Int. Ed. 2025, 64, e202420779; Wu et al., Angew. Chem. Int. Ed. 2024, 63, e202404983; Zeng et al., Angew. Chem. Int. Ed. 2024, 63, e202404952.

## Slide 11
Aviation fuel
Aerospace propellant
Fire dynamite
Battery thermal runaway
High-resolution and high-sensitivity detection using SVUV-PIMS
In-situ measurement of the microstructure of chemical reaction intermediates and isomer products under complex working conditions
Research on combustion reaction kinetics in the fields of aviation fuel, propellant, explosives, battery thermal runaway, etc.
Aerospace propellant、battery thermal runaway
H. Fu, Y. Wang, B. Liu, Z. Wang*, X. Zhang, G. Liu*, Experimental and theoretical study of cyclopropanated fuel exo Tetracyclo[3.3.1.02,4.06,8]nonane pyrolysis in a jet-stirred reactor, Fuel 361, 130702, 2024.
Q. Zhu, B. Liu, Z. Hu, S. Chen, Q. Xu, Z. Wang*, Pyrolysis and kinetic modeling study of TEMED: A potential green propellant, Proc. Combust. Inst., 40, 105426, 2024.
K. Jin, Z. Zhi, L. Wu, Q. Xu, B. Liu, Z. Wang, Z. Tian*, Pyrolysis of norbornadiene: An experimental and kinetic modeling study, Combust. Flame 242, 112155, 2022.
B. Dong, L. Wang, L. Hu, J. Fang, Z. Wang, Exploring the oxidation chemistry of diethyl carbonate in lithium-ion battery thermal runaway using SVUV-PIMS. Proc. Combust. Inst, 2024, 40, 105479.

## Slide 12
Free radical reaction and soot formation

## Slide 13
Low temperature oxidation chemistry

## Slide 14
01
02
03
04
Beamline
Examples
Methods
Beamtime
目录
CATALOG

## Slide 15
User login to the Chinese Academy of Sciences Major Scientific and Technological Infrastructure Sharing Service Platform (https://lssf.cas.cn), Register an account
Submit a project application (non-employed personnel are not allowed to apply)
User project review: Hefei Light Source accepts user project applications all year round and reviews them once a quarter
User beamtime application and usage process details： http://www.nsrl.ustc.edu.cn/2016/0425/c10980a124134/page.htm
Beamtime apply

## Slide 16
Contact us
Adequate early communication is conducive to the smooth progress of the project
Prof. Zhandong Wang
Group leader
0551-63602125
zhdwang@ustc.edu.cn
Mr. Xiaobin Shan
Engineer
shanxb@ustc.edu.cn
Dr. Jiwen Guan
Beamline scientist
15156078061
jguan43@ustc.edu.cn

## Slide 17
谢谢
中国科学技书大学
国家同步辐射实验室